## Slide 1: Therapeutic Products Bill-consultation phase
Medical devices session
Auckland 19 March 2019

## Slide 2: Therapeutic Products Bill: Devices Session
Agenda for today:
Purpose & design of the Bill
Scope & Definitions
Product-related aspects
Activity-related aspects
Transition
Regulator powers & enforcement

## Slide 3: Today’s team
Sheila Swan – Chief Advisor, Regulatory Policy, MoH
Hannah Adams – Senior Analyst, Regulatory Policy, MoH
Susan Martindale – Principal Policy Analyst, Regulatory Policy, MoH
Chris James – General Manager, Medsafe, MoH
Pamela Randell – Project Coordinator, MoH

## Slide 4: Purpose & Design of the Bill
Purpose:
The purpose of this Act is to protect personal and community health by:
(a) ensuring acceptable safety, quality, and efficacy or performance of therapeutic products across their lifecycle; and
(b) regulating the manufacture, import, promotion, supply, and administration or use of therapeutic products.
Design
Principles-based framework with three subordinate tiers.

## Slide 5: Guiding principles of the Bill
The Regulator and any other person exercising a power under this Act must be guided by the purpose of this Act and the following principles:
(a) the likely benefits of therapeutic products should outweigh the likely risks associated with them:
(b) regulation of therapeutic products should-
  (i) be proportionate to the risks posed by the products; and
  (ii) support the timely availability of therapeutic products:
(c) the administration of this Act should be carried on in an open and transparent manner:
(d) there should be co-operation with overseas regulators, compliance with international obligations, and, if appropriate, alignment with international standards and practice.

## Slide 6: There will be less detail in legislation and more in the regulations and regulator-made instruments
Instrument | Content | Process
Therapeutic Products Act | Primary legislation sets out: the purpose of the Act provides a set of principles and criteria to set the parameters of the regulatory regime sets boundaries for the scope and development of subordinate legislative instruments contains the primary elements of the regulatory regime provides enforcement powers sets out accountability arrangements | Legislative instrument, made by Parliament
Regulations | Regulations will contain further detail on: matters not appropriately dealt with in regulator-made instruments (such as fee setting) matters to do with accountability key elements of the regulatory regime that will remain relatively stable and which are significant to the design of the regulatory requirements Schedule 3 lists the matters that can be specified in regulations | Legislative instrument, made by the Governor-General by Order and Council Regulations will be subject to review by the Regulations Review Committee
Rules | Contain the detail of the regulatory requirements Schedule 3 lists the matters that can be specified in rules | Legislative instrument, made by the regulator Subject to review by the Regulations Review Committee
Notices | Contain administrative detail of the scheme Schedule 3 lists the matters that can be specified in notices | Non-legislative instrument, made by the regulator The regulator must not issue a notice unless satisfied that doing so if necessary or desirable to promote the purposes of the Act; and it is no broader than is reasonable necessary to address matter that gave rise to it
Notes: The modern approach to drafting is to include much less detail in the legislation
This makes it much easier to keep the requirements of regulatory scheme up to date
But there are still lots of check and balances in place
A large proportion of the requirements would be set in regulations, which will be developed by the Ministry of Health, then require the approval of the Governor General
The regulator will be able to make rules and notices, but there are restrictions on what these can cover and requirements for when and how they can be made

## Slide 7: Regulator Form
In providing advice to Cabinet on the Regulator Form, the Ministry will be considering:
Independence: decision-making and operations
Accountability
Sustaining capability and capacity
Positive regulatory culture
Efficiency and effectiveness (includes cost of establishment and ongoing operations)
Flexibility

## Slide 8: What is a therapeutic product?
A product is a therapeutic product if-
(a) it is intended for use in, on, or in relation to humans for a therapeutic purpose; or
(b) it is specified in the regulations to be a TP; or
(c) it is intended for use as an active ingredient of a medicine.
A naturally occurring thing …. may become a TP if it is changed from its naturally occurring state…..
BUT…a product that would otherwise be a therapeutic product under (a) is not a therapeutic product if it is a natural health product.
[Section 16 (paraphrased)].

## Slide 9: What does therapeutic purpose mean?
The following are therapeutic purposes:
(a) preventing, diagnosing, monitoring, alleviating, treating, curing, or compensating for a disease, ailment, defect, or injury
(b) influencing, inhibiting, or modifying a human physiological process
(c) testing the susceptibility of humans to a disease or an ailment
(d) influencing, controlling, or preventing human conception
(e) testing for human pregnancy
(f) investigating, replacing, modifying, or supporting part of a human’s
anatomy
(g) supporting or sustaining human life
(h) disinfecting medical devices
(i) a purpose connected with a purpose referred to in paragraphs (a) to (h).

## Slide 10: What does therapeutic purpose mean (contd)
Something is intended for use for a therapeutic purpose if it is, or is in a
class of things that are-
(a) ordinarily used for that purpose; or
(b) intended by the responsible manufacturer to be used for that purpose; or
(c) represented as being for use for that purpose; or
(d) likely (because of the way in which it is presented or for any other reason)
to be used for that purpose.

## Slide 11: The Bill would regulate 4 types of product
  Medicines
  Active ingredients of medicines (AMIs)
  Medical devices
  Type-4 products.

## Slide 12: What is a medical device?
The distinguishing feature of a medical device is that it:
achieves, or is likely to achieve, its principal intended action by means other than-
(A) pharmacological, immunological, or metabolic means; or
(B) the action of something that comprises, contains, or is derived from human or animal cells or tissues
(although its function may be assisted by the means in A and B).
Regulator’s notices can also be used to declare something to be a medicine, AMI, medical device or type-4 product.

## Slide 13: Diversity of products and risk
The term medical device covers a wide range of products across a wide risk spectrum, including:
Surgical equipment
Imaging and other diagnostic equipment
Implants
Dressings and catheters
Software
In-vitro diagnostic tests
Hearing aids.
Question: Is better regulation needed for devices such as plano contact lenses, dermal fillers used for “cosmetic” rather than therapeutic purposes?

## Slide 14: The new scheme would adopt the GHTF/IMDRF global model for device regulation
Devices must meet Essential Principles (relating to safety and performance)
Devices are allocated a Risk Classification using international classification rules - this determines the level of regulatory oversight and conformity assessment
Conformity assessment procedures - the required procedures are linked to the risk class for the device
The manufacturer is responsible for maintaining a technical file (STED) demonstrating conformity to the essential principles and for completing a declaration of conformity
Conformity assessments are undertaken by independent Conformity Assessment Bodies (CABs) recognised by the regulator (except for the lowest risk class of devices which can be self-assessed by the manufacturer).

## Slide 15: Rules & Notices will specify the detail
Rules would set product standards for medical devices that, consistent with the global model, would specify:
The 2 broad categories of device
  In-vitro diagnostic devices (IVDs)
  Devices that are not IVDs
Essential Principles for each category of device
Risk classifications for each category and the rules for determining which risk class a device belongs in
Conformity assessment procedures.
A Notice would list the Conformity Assessment bodies recognised by the Regulator.

## Slide 16: There would be more regulation of medical devices across their lifecycle
Design, Develop & Test
Now: Not regulated
Future:
Clinical trials would require a licence
Product development data would be required as part of product approval
Manufacture
Now: Not regulated
Future:
NZ manufacturers would require a licence
Overseas manufacturers audited and checked via product approval process
Supply and use
Now: Suppliers required to list some medical devices on the Ministry’s database within 30 days of market entry
Future:
Register of all approved devices would be required
NZ wholesalers would require a licence (unless exempt)
Would be able to apply use- and supply-restrictions
Post-Market
Now:
Voluntary adverse event reporting by product sponsors
Limited enforcement responses
Future:
Mandatory adverse event reporting by product sponsors
Full suite of enforcement responses
Market Entry
Now: Not regulated. Some devices required to meet relevant standards specified in other legislation
Future: Pre-market product approval would be required (with some exceptions)

## Slide 17: Product-related controls
Medical devices must not be imported or supplied unless the product is:
  approved
  approval-exempt; or
  the person who is importing or supplying is authorised (via the legislation, a licence or permit) to do so.
The importer must:
  be the sponsor for the product; or
  have the written consent of the sponsor; or
  be authorised to import without the sponsor’s consent.

## Slide 18: The Bill would enable different product approval pathways
The approval pathways would include:
approval based on scrutiny of evidence of conformity assessment/ overseas approval of devices
approval without scrutiny if devices are under a Mutual Recognition Agreement (eg, those that fall under the EU MRA)
self-declaration and notification for devices in the lowest risk class.
The NZ regulator would need to publish and maintain a list of recognised conformity assessment bodies (in a Regulator’s Notice)
These will be a mix of third party conformity assessment bodies and overseas regulators whose conformity assessments will be recognised. The NZ regulator is unlikely to be doing conformity assessments itself.

## Slide 19: There would be “grouping” rules for products with shared characteristics
It would be possible for a single application to cover multiple products provided they have specified characteristics in common. We envisage the “grouping” rules would be similar to those in Australia where:
  Lower risk devices can be grouped if they have the same manufacturer, sponsor, risk classification, and GMDN code.
  High risk devices (class III, AIMD and most class 4 IVDs) must have the same unique product identifier as well as the same manufacturer, sponsor, risk classification, and GMDN code.
The new scheme would also accommodate applications for kits and procedure packs.

## Slide 20: Criteria for product approval
The criteria for product approval are all of the following:
the quality, safety, and efficacy or performance of the product for the purpose for which it is to be used are satisfactorily established
the likely benefits of the product outweigh the likely risks associated with it
any other criteria for approval that are specified in the rules.
Product standards may relate to the product, its manufacture, its packaging and labelling, its product or consumer information.

## Slide 21: Evaluating an application for approval
The Regulator must evaluate the application having regard to:
the criteria for product approval
whether the product, if approved, will comply with the specified product standards
whether the person named in the application as the proposed sponsor meets the criteria for a sponsor.
After evaluating the application, the Regulator must-
grant approval or refuse to grant approval.

## Slide 22: Approvals (contd)
Approvals can be:
Subject to conditions - which can be specified in the Rules or imposed by the Regulator at the time of approval or later. Conditions can be added, varied or removed by the Regulator
Granted with or without an end date
Cancelled – for grounds see section 108.

## Slide 23: Changes to approved products
Major changes to medical devices:
Major changes will be listed in the Rules
Approved product + major change = different product & new approval
Minor changes to medical devices:
There are 2 types:
  those that must be notified to the Regulator. These will be listed in the Rules
  any other minor changes. These do not need to be notified or approved
The original approval covers all the minor changes.

## Slide 24: Sponsors are important players
A sponsor:
Is the person to whom a product approval is granted (or later transferred); or
For an approval-exempt product, is the person named (individually or as a class of person) in the Regulator’s Notice declaring the product (or class of product) to be approval-exempt.

## Slide 25: Criteria for being the sponsor of an approved product
(A) - Individual normally resident in NZ, or
- Body corporate incorporated in NZ; or
- The Crown
The person imports or arranges the import of the product, or manufactures it in NZ or arranges for its manufacture in NZ
Are, or have a contractual relationship with, the responsible manufacturer
Agree to be the sponsor
Are a fit and proper person
Are, or will be, able to comply with the set of sponsor obligations.

## Slide 26: Sponsors have important obligations
The sponsor of an approved product is obligated to:
Comply with the approval
Ensure the product complies with its approval & any specified product standards
Ensure another person complies with any must do / must not do requirements placed on that person by the approval
Comply with any requirements in the regulations in relation to:
  Product quality, safety, and efficacy or performance (includes ongoing monitoring)
  Prescribing and consumer information, packaging & labelling
  Release for supply
  Market actions (eg tracing and recall), record keeping, auditing
  Giving information to the regulator (eg adverse event reporting).

## Slide 27: Some activities require an authorisation
Manufacturing is a controlled activity requiring an authorisation
A licence would be the usual way of authorising manufacture in NZ
A person is a manufacturer if they do anything that is part of manufacturing the product (s31(2))
The responsible manufacturer is the one primarily responsible for the manufacture of the product (s31(3)). Relevant considerations are:
  who initiated manufacture
  whose name would the device be supplied under
  who is responsible for overall QA and QC
The licence would spell out the scope of what is permitted and could also authorise those manufacturers who supply the responsible manufacturer with components or sub-assemblies etc.

## Slide 28: A person manufactures a device if they:
Produce the device
Do anything that is part of the process of producing the device or bringing it to its final state (eg, testing, sterilising, releasing for supply, packaging, labelling)
Do anything that is part of remanufacturing the device.
However, preparing a device for use by following the manufacturer’s instructions (eg, for assembly, calibration) is NOT manufacture (s34(4)).

## Slide 29: Remanufacture of a device
Remanufacture occurs if someone alters, refurbishes, further processes a device so as to:
Change its intended purpose or other major change
Make it a different device
Enable re-use of a device originally intended to be for single use only
Enable it to be used in a way that is very different from the way the responsible manufacturer intended
Note that remanufacture does NOT mean:
Cleaning the device
Carrying out repairs & maintenance to enable the continued use of the device in the originally intended manner

## Slide 30: Supply by wholesale requires an authorisation
A person is supplying by wholesale if they have a reasonable belief that the recipient is obtaining it in order to:
  Supply it to other people in the course of their business (as, for example, a pharmacy would)
  To administer it to, or use on, patients in the course of their business (as, for example, a DHB or health practitioner would)
  To use it in a scientific, educational or commercial laboratory
  To use it in a manufacturing or trade process
A licence would be the usual way of authorising this controlled activity
It would spell out the scope of what is permitted, including whether unapproved devices may be supplied
We envisage using regulations to “exempt” those who wholesale only class I devices from needing a licence.

## Slide 31: Conducting a clinical trial requires an authorisation
A licence would be the usual way of authorising this controlled activity
It would spell out the scope of what is permitted & also authorise the supply of the unapproved trial product.

## Slide 32: Advertising controls
Only approved products may be advertised
Adverts must be consistent with the product approval & not misleading
Regulations would be used to specify more detailed requirements.

## Slide 33: Getting ready for the new scheme
Before the scheme can commence all of the following events must have occurred:
The Bill must have received Royal Assent
Regulations must be developed (following consultation), signed by the Governor-General, published and in force
Rules and Notices must be developed (following consultation), published and in force.
The new Act, regulations, rules and notices would all come into force on the same date (the commencement date for the scheme).
There is likely to be a gap of around two years between Royal Assent and commencement. During this time, companies can start to get prepared for commencement so they are ready to begin transitioning into the scheme.
The transition period begins on commencement date - so perhaps around late 2022 or early 2023.
The Bill gives temporary authorisations to those lawfully importing, manufacturing and supplying devices before commencement to allow them to continue those activities.

## Slide 34: What needs to happen after commencement?
Those wishing to introduce new products to the NZ market must first obtain a product approval (unless the product is approval-exempt) or other authorisation for the product
Those wishing to start supplying by wholesale or start a clinical trial must first obtain a licence (or other authorisation).
Those “existing players” who are covered by the temporary transition authorisations need to apply for scheme approvals / licences within 6 months of commencement.
As soon as they have done that, their temporary approval continues on until the regulator determines their application.

## Slide 35: The Regulator
Must ensure it has a system to continuously monitor the safety of lawfully supplied products
May make public safety announcements (akin to current privileged statements under the Medicines Act)
May issue the following regulatory orders:
  Recall orders
  Premises restriction order
  Advertising remediation order
  Directions order
  Product prohibition order
  Medicines access limitation order.
2-tier Merits review mechanism is available.

## Slide 36: Investigation powers
The Bill:
Links to the Search & Surveillance Act 2012
Has some additional powers tailored for this scheme (eg the power to test samples)
Enables the Regulator to conduct routine compliance checks and enforcement activities
Enables imported consignments to be detained, tested, destroyed or removed from NZ.

## Slide 37: Therapeutic Products Bill: Enforcement
The Bill has a modern hierarchy of enforcement tools:
Tiered criminal offences with higher penalties
Enforceable undertakings
Infringement notices.
Officials are considering whether to add civil pecuniary penalties as another regulatory option.

## Slide 38: What next
Sector forums in March
Submissions due by 18 April
Analysis of submissions & report back to Cabinet
Draft Bill amended, as required
Draft Bill introduced to Parliament
Select Committee process (which usually includes a public submission process)
Development of regulations, rules and notices – will involve consultation on detail of the scheme.